Hanwha Vision is a leading supplier of advanced video surveillance solutions for IP-video, analog and hybrid systems. Building on the company's history of innovation, Hanwha Vision is dedicated to providing systems solutions with the highest levels of performance, reliability and cost-efficiency. Hanwha Vision is committed to the continued development of innovative systems products for professional security applications.

For additional information, visit http://www.hanwhavision.com/

- PRODUCTS

  - EQUIPMENT

    - Manufacturer : Hanwha Vision (https://www.hanwhavision.com)

    - Model : XNP-C8303RW

    - Alternates :	XNP-C8300RW

  - GENERAL DESCRIPTION

    - Video Compression and Transmission – The 6M camera shall have the following properties relating to the video signals it produces.

      - H.265, H.264 and MJPEG compression, each derived from a dedicated encoder and capable of being streamed independently and simultaneously

        - H.265 and H.264 – frame rates to 30/25 fps

        - MJPEG – frame rates to 30/25 fps

          - Maximum frame rates available at selected resolutions:

          - H.265/H.264: Max. 30fps/25fps(60Hz/50Hz)

          - MJPEG: Max. 30fps/25fps(60Hz/50Hz) (@6MP Max. 5fps)

      - The 6M camera shall be able to configure up to 10 independent video stream profiles with differing encoding, quality, frame rate, resolution, and bit rate settings.

      - Resolution selections

        - 3328x1872, 3072x1728, 2592x1944, 2688x1520, 1920x1080, 1600x1200, 1280x1024, 1280x960, 1280x720, 1024x768, 800x600, 800x448, 720x576, 720x480, 640x480, 640x360, 320x240

      - Simultaneous unicast access by up to 20 users

      - Multicast or unicast capable

      - Dynamic DNS (DDNS) support.

      - WiseStream and Dynamic GOV to efficiently manage bitrate of the video stream.

    - Camera – The 6M camera device shall have the following physical and performance properties:

      - Built-in wiper is for get rid of water or dust initially

      - The camera shall be able to produce clear images in highly contrast scenes with multi-exposure wide dynamic range.

      - IP66, IK10, NEMA4X, NEMA-TS 2(2.2.8, 2.2.9)  rated for protection against impacts.

      - Auto day/night operation with removable IR cut filter

        - Low light level operation to 0.1 lux (color) and 0 lux (black and white)

      - 2D and 3D digital noise reduction

      - Integral IR illumination, providing effective visibility of 30m at 0 Lux when activated in Black & White mode.

      - 32 privacy masking regions with quadrangle.

      - The camera shall provide video display on smart phone (iPhone, Android) to adjust viewing angle, rotation and focus.

    - Intelligence and Analytics – The 6M camera shall have a suite of integral intelligent operations and analytic functions to include:

      - Motion detection with 8 definable detection areas with 8 point polygonal zones, and minimum/maximum object size.

      - Detection of logical events of specified conditions from the camera’s video

        - Directional detection

        - Fog detection

        - Face detection

        - Motion detection

        - Appear/Disappear

        - Enter/Exit

        - Loitering

        - Tampering

        - Virtual line

        - Shock detection

        - Audio detection with NW I/O Box (External Device)

        - Sound classification with NW I/O Box (External Device)

      - Detection and classification with NW I/O Box of the following sound.

        - Scream

        - Gunshot

        - Explosion

        - Crashing glass

      - Classified object Analytics

        - Person/Face/Vehicle/License plate

        - Attributes : Vehicle(Type:car/bus/truck/motorcycle/bicycle)

    - Interoperability – The 6M camera shall be ONVIF Profile S and G compliant.

    - The 6M camera shall possess the following further characteristics:

      - Built-in web server, accessed via standard browsers including Internet Explorer, Firefox, Chrome & Safari

      - Micro SD/SDHC/SDXC memory card and NAS recording options, with configurable pre-alarm and post-alarm recording intervals

      - Bi-directional audio

      - Alarms and notifications

        - alarm notification triggers:

          - Analytics

          - Network disconnect

          - Alarm input with NW I/O Box

        - available notification means upon trigger:

          - File Upload via FTP and E-mail

          - Notification via E-mail

          - Local storage (SD / SDHC / SDXC) or NAS recording at event triggers

          - Alarm output with NW I/O Box

          - PTZ preset

          - Handover

      - Pixel Counter available in the plug-in web viewer.

      - HPoE capable

      - IP66, IK10, NEMA4X, NEMA-TS 2(2.2.8, 2.2.9)

      - This device has been verified using STP cable. The use of appropriate GND grounding and STP cable is recommended to effectively protect your product and property from transient voltage, thunder stroke, communication interruption.

  - CAMERA SOFTWARE

    - The 6M camera shall have a built in web server which supports browser-based configuration using Internet Explorer, Google Chrome, Mozilla Firefox, and Apple Safari, for which web viewer plug-ins are available, from a PC or Mac.

    - The web viewer shall provide a monitoring screen which displays live camera video and simultaneously provides same-screen access to the following functions:

      - Live view window size

      - Resolution setting

      - Image (snapshot) capture

      - Manual recording to SD or NAS

      - Audio/microphone control

      - Access Playback and Setup menus

      - Digital PTZ

    - The web viewer shall provide a autotracking feature which trace to specific object with object detect analytics or targeted object.

    - The web viewer shall provide a playback screen which provides access to the following functions:

      - Search date and time range

      - Search event type

      - Play an event video

      - Set resolution

      - Play audio if present

      - Generate a backup copy of saved video data

    - The web viewer shall provide a setup screen which provides access to the following configuration settings and functions in the camera:

      - Digital video profile to include compression type, maximum or target bit rate, frame rate, multicast parameters, crop encoding area

      - User profile to include password, access level, authentication

      - Date and time

      - Network settings and IP version

        - DDNS

        - SSL, including certificate management

        - 802.1x authentication

        - Quality of Service settings

        - SNMP to include version selection and settings

        - Auto configuration

      - Video setup to include flip and mirror mode, hallway view mode, video type, privacy zone

      - Audio setup to include source, audio codec type, gain, and bit rate

      - Camera settings to include image preset, sensor frame capture, dynamic range, white balance, back light, exposure, day/night operation, on-screen display, IR illumination, sharpness, contrast, and color level.

      - Event detection setup to include notification parameters, recording rules, time schedule, tamper protection, motion detection, event triggers

      - System function to include reboot, upgrade, check system and event logs, application (SDK) management

      - View profile information

    - Client requirements

      - Acceptable Operating Systems:	Windows 7 / 8.1 / 10, MAC OS X 10.9~10.11

      - Acceptable browsers

        - Plug-in free web viewer: Google Chrome 47, MS Edge 20

        - Plug-in web viewer: 	MS Explore 11, Mozilla Firefox 43, Apple Safari 9 * Mac OS X only

  - DETAILED SPECIFICATIONS

    - Video

      - Imager

        - Sensor : 1/2.8" CMOS

          - scanning : progressive

        - Minimum illumination

          - Color mode : 0.1Lux (1/30sec, F1.6, 30IRE)

          - Black & white mode : 0Lux (IR LED on)

        - The following features with control settings shall be available:

          - Camera Title

            - Off / On (Displayed up to 85 characters per line)

            - W/W : English / Numeric / Special characters

            - China : English / Numeric / Special / Chinese characters

            - Common : Multi-line (Max. 5), Color (Grey / Green / Red / Blue / Black / White), Transparency, Auto scale by resolution

          - Day/night setting

            - Auto (ICR) / Color / B/W / External / Schedule

          - Backlight compensation (BLC)

            - BLC, HLC, WDR, SSDR

          - WDR

            - Extreme WDR(120dB)

          - Contrast Enhancement

            - Off / On (Samsung Super Dynamic Range)

          - Digital Noise Reduction (DNR)

            - Off / On (Samsung Super Noise Reduction)

          - Defog

            - Off / Auto / Manual

          - Motion Detection

            - Off / On (8ea polygonal zones)

          - Privacy Masking

            - Off / On (32ea quadrangle  zones)

            - Color: Grey/Green/Red/Blue/Black/White

            - Mosaic

          - Gain Control

            - Manual / Max

          - White Balance

            - ATW /Narrow ATW /AWC /Manual /Indoor /Outdoor /Mercury /Sodium

          - Electronic shutter speed

            - Settings : Minimum / Maximum / Anti flicker (2 ~ 1/12,000sec)

          - Image flip

            - Off / On

          - Image mirror

            - Off / On

          - Alarm I/O

            - External device support

          - Alarm Triggers

            - Analytics, Network disconnect

          - Alarm Events

            - File upload via FTP and E-mail

            - Notification via, E-mail

            - SD/SDHC/SDXC or NAS recording at event triggers

            - PTZ Preset

            - Handover

          - Pixel Counter

            - Available in the plug-in web viewer.

        - Lens : 5~150mm(30x) zoom (digital 32x, total 960x zoom)

          - Aperture Ratio

            - F1.6(Wide) - F4.56(Tele)

          - Angle of view:

            - H: 57.42°(Wide)~2.19°(Tele) / V: 33.54°(Wide)~1.25°(Tele)

          - Min. Object Distance

            - 3m(9.84ft)

          - Focus control

            - Oneshot AF, Focus save

          - Lens Type

            - DC auto iris

      - IR Viewable Length : 200m(656.17ft), Wise IR

      - Water Removal

        - Support(Wiper)

      - Auto Tracking

        - Object auto tracking(Person/Vehicle)

        - Target lock tracking

      - PTR

        - PAN

          - 360° Endless

        - PAN Speed

          - Max. 500°/sec, Manual: 0.024°/sec~250°/sec

        - TILT

          - 110° (-20°~90°)

        - TILT Speed

          - Max. 350°/sec, Manual: 0.024°/sec~250°/sec

        - Sequence

          - Preset(300ea), Swing, Group(6ea), Trace, Tour, Auto Run, Schedule

        - Preset Accuracy

          - Up to ±0.1°, Pan/Tilt correction

      - Video Streams

        - The 6M camera shall be able to produce 10 video profiles, each of which may have the following properties:

          - Encoding type:

            - H.265

            - H.264

            - MJPEG

          - Resolution:

            - 3328x1872, 3072x1728, 2592x1944, 2688x1520, 1920x1080, 1600x1200, 1280x1024, 1280x960, 1280x720, 1024x768, 800x600, 800x448, 720x576, 720x480, 640x480, 640x360, 320x240

          - Maximum frame rate:

            - H.265/H.264: Max. 30fps/25fps(60Hz/50Hz)

            - MJPEG: Max. 30fps/25fps(60Hz/50Hz) (@6MP Max. 5fps)

          - Bit rate control method :

            - H.265 and H.264 : target bitrate level control, constant bit rate (CBR) or variable bit rate (VBR)

            - MJPEG : quality level control, variable bit rate (VBR)

      - Number of multi-streaming profiles

        - 10 maximum

      - Simultaneous users (total)

        - 20 maximum (unicast)

      - Storage and Recording

        - The 6M camera shall have onboard SD card storage.

          - Card type : Micro SD/SDHC/SDXC

          - Capacity : 2slot 1TB(1slot 512GB)

          - Image content on the card shall have the ability to be downloaded to a selected destination.

      - Interoperability

        - Video streams shall be capable of supporting ONVIF protocol, profiles S and G.

      - Single Images

        - The 6M camera shall support jpg file image screenshot and export.

      - Memory

        - 4GB RAM, 512MB Flash

    - Network

      - Connectivity

        - Metal shielded RJ-45(10/100BASE-T)

      - Protocols supported :

        - Transmission Control Protocol (TCP), Internet Protocol (IP) v4 and v6, User Datagram Protocol (UDP)

        - Configuration: Dynamic Host Configuration Protocol (DHCP)

        - Web services: Hypertext Transfer Protocol (HTTP), Secure HTTP (HTTPS)

        - Network services: Address Resolution Protocol (ARP), Bonjour, Domain Name System (DNS), Internet Control Message Protocol (ICMP), Network Time Protocol (NTP), Protocol Independent Multicast-Sparse Mode (PIM-SM), Simple Network Management Protocol (SNMP v1/2c/3 – MIB-2), Universal Plug and Play (UPnP)

        - Media: Real-Time Transport Protocol (RTP), Real-Time Control Protocol, Real-Time Streaming Protocol (RTSP)

        - Multicast: Internet Group Management Protocol (IGMP)

        - Notifications: File Transfer Protocol (FTP), Simple Mail Transfer Protocol (SMTP)

        - Remote Access: Point-to-Point Protocol over Ethernet) (PPPoE)

      - DDNS

        - The 6M camera shall support DDNS services offered by the Manufacturer and other publicly available service offerings.

      - Quality of Service (QoS)

        - Layer 3 DSCP

      - Security features

        - HTTPS(SSL) Login Authentication

        - Digest Login Authentication

        - IP Address Filtering

        - User access log

        - 802.1X Authentication(EAP-TLS, EAP-LEAP)

        - Device certificate(Hanwha Techwin Root CA)

      - Discovery

        - Manufacturer shall offer a discovery program to identify all devices of his manufacture on the network.

    - Application Programming Interface

      - ONVIF Profile S/G/T

      - SUNAPI(HTTP API)

      - Wisenet open platform

    - Electrical

      - Power

        - Input Voltage

          - HPoE(IEEE802.3bt, Class6, Type3, Injector included)

        - Power Consumption

          - Typical 26W, Max 46W

    - Mechanical And Environmental

      - Color / Material

        - Body : White / Aluminum

        - Head: Black / Polycarbonate

        - Hard-coated dome

      - Dimensions (W x H)

        - ø184.9x318.8mm(7.28x12.55")

      - Weight

        - 5.6kg (12.34lb)

      - RAL Code

        - White: RAL9003

        - Black: RAL9005

      - Temperature:

        - Operating

          - '-40°C~+55°C(-40°F ~ +131°F) / +74°C(+165°F) (MAX) based on NEMA-TS 2(2.2.7)

* Start up should be done at above -30°C

        - Storage

          - -50°C ~ +60°C(-58°F ~ +140°F)

        - Humidity

          - 0~95% RH(Non-condensing)

      - Environmental Rating

        - IP66

        - IK10

        - NEMA4X

        - NEMA-TS 2(2.2.8, 2.2.9)

    - DORI

      - Detect (25PPM/ 8PPF) : Wide: 121.5m(398.7ft) / Tele: 2813.9m(9232.1ft)

      - Observe (63PPM/ 19PPF) : Wide: 48.6m(159.0ft) / Tele: 1125.6m(3692.8ft)

      - Recognize (125PPM/ 38PPF) : Wide: 24.3m(79.7ft) / Tele: 562.8m(1846.4ft)

      - Identify (250PPM/ 76PPF) : Wide: 12.2m(39.9ft) / Tele: 281.4m(923.2ft)

END OF SECTION

8