May 2025

Product Guide Specification

Specifier Notes:  This product guide specification is written according to the Construction Specifications Institute (CSI) 3-Part Format, based on MasterFormat 2016 and The Project Resource Manual—CSI Manual of Practice. The Manufacturer is responsible for technical accuracy.

The section must be carefully reviewed and edited by the Architect or Engineer to meet the requirements of the project and local building code.  Words and sentences within brackets [ ] are choices to include or exclude a particular item or statement.  Coordinate this section with other specification sections and the Drawings.  Delete all “Specifier Notes” after editing this section.

Section 28 21 00: Video Security

Section 28 21 13: IP Cameras

4MP Network LPR Camera (Vari-Focal) - N9L-4RAL

- – GENERAL

  - SUMMARY

    - Section Includes

      - Section 28 21 17: Video Security – Security Cameras – Camera Housings

      - Section 28 21 19: Video Security – Security Cameras – Camera Mounts

      - Section 28 21 21: Video Security – Security Cameras – Illuminators

      - Section 28 27 00: Video Security – Video Security Sensors

    - Related Sections

      - [Section 28 33 15: Security Detection, Alarm and Monitoring – Security Monitoring and Control – Security Monitoring and Control Software].

**********Specifier’s note: Include those standards referenced elsewhere in this SECTION.

  - REFERENCES

    - HD standards

      - Complies with the SMPTE 274M-2008 Standard in:

        - Resolution: 1920x1080

        - Scan: Progressive

        - Color representation: complies with ITU-R BT.709

        - Aspect ratio: 16:9

        - Frame rate: 25 and 30 frames/s

      - Complies with the 296M-2001 Standard in:

        - Resolution: 1280x720

        - Scan: Progressive

        - Color representation: complies with ITU-R BT.709

        - Aspect ratio: 16:9

        - Frame rate: 25, 30, 50 and 60 frames/s

        - Interference-Causing Equipment Standards

  - SYSTEM DESCRIPTION

    - Section Includes

      - Video Security – Security Cameras – IP Cameras

    - Performance Requirements

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall be a full-featured network bullet camera designed for discrete video security applications in outdoor environments.

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall use one (1) high performance 1/1.8-in. 4MP Progressive-scan CMOS sensor.

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall offer Six (6) IR illuminators with adjustable brightness to produce color images in total darkness.

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall offer advanced analytics that detect and categorize between human and vehicular objects and technology that reduces the number of false alarms.

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall offer active alarm functionality to respond automatically to a triggered alarm.

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall offer one (1) audio output channel (RCA port).

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall provide direct network connection using H.265, H.264M, H.264H, MJPEG (Sub Stream Only) compression and bandwidth throttling to efficiently manage bandwidth and storage requirements while delivering outstanding image quality.

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall support the following dual, redundant power options:

        - 12 VDC

        - PoE+

        - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall default to use power from the PoE power supply, if connected.

        - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall reboot and switch to the 12 VDC power supply if power from the PoE power supply is lost.

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall offer Wide Dynamic Range (96 dB) for clear images in extreme high-contrast environments.

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall offer two (2) separate and configurable streams.

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall have a motorized vari-focal lens with a lens length of 10 to 50 mm (0.4 to 2.0 in.).

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall combine temperature-tolerant components with a waterproof enclosure to ensure flawless operation in temperatures as low as –30° C (–22° F).

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL housing shall conform to the IP67 standards.

  - SUBMITTALS

Submit under provisions of Section [01 33 00.]

    - Product Data:

      - Manufacturer’s data, user and installation manuals for all equipment and software programs including computer equipment and other equipment required for complete video management system.

    - Dimensional Drawings; include

      - Overall device dimensions.

      - Dimensions specific for installation.

    - Closeout Submittals

      - User manual.

      - Parts list.

      - Maintenance requirements.

  - QUALITY ASSURANCE

    - Manufacturer:

      - Minimum of [10] years of experience in manufacture and design Video Security Devices.

    - Video Security System:

      - List certifying bodies (UL, CSA, etc.)

      - Provide evidence of compliance upon request.

    - Installer:

      - Minimum of [5] years of experience installing Video Security System.

  - DELIVERY, STORAGE AND HANDLING

    - Comply with requirements of Section 01 60 00.

    - Deliver materials in manufacture’s original, unopened, undamaged containers; and unharmed original identification labels.

    - Protect store materials from environmental and temperature conditions following manufacturer’s instructions.

    - Handle and operate products and systems according to manufacturer’s instructions.

  - MAINTENANCE

    - Make ordering of new equipment for expansions, replacements, and spare parts available to dealers and end users.

    - Provide factory direct technical support via phone and e-mail.

- – PRODUCTS

  - MANUFACTURERS

    - [Acceptable Manufacturer:

Luminys Systems Corporation

15245 Alton Pkwy, #100, Irvine, CA, 92618

Tel: (949) 679-7777

Fax: (949) 679-5760

Email: sales@luminyscorp.com]

    - Substitutions: [Not permitted.] [Under provisions of Division 1.]

      - [All proposed substitutions must be approved by the Architect or Engineer professional.]

      - [Proposed substitutions must provide a line-by-line compliance documentation.]

  - PRODUCT SPECIFICATIONS

    - General Characteristics:

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall be a full-featured network bullet camera designed for discrete video security applications in outdoor environments.

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall use one (1) high performance 1/1.8-in. 4MP Progressive-scan CMOS sensor.

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall offer Six (6) IR illuminators with adjustable brightness to produce color images in total darkness.

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall offer advanced analytics that detect and categorize between human and vehicular objects and technology that reduces the number of false alarms.

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall offer active alarm functionality to respond automatically to a triggered alarm.

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall offer one (1) audio output channel (RCA port).

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall provide direct network connection using  H.265, H.264M, H.264H, MJPEG (Sub Stream Only) compression and bandwidth throttling to efficiently manage bandwidth and storage requirements while delivering outstanding image quality.

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall support the following dual, redundant power options:

        - 12 VDC

        - PoE+

        - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall default to use power from the PoE power supply, if connected.

        - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall reboot and switch to the 12 VDC power supply if power from the PoE power supply is lost.

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall offer Wide Dynamic Range (96 dB) for clear images in extreme high-contrast environments.

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall offer two (2) separate and configurable streams.

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall have a motorized vari-focal lens with a lens length of 10 to 50 mm (0.4 to 2.0 in.).

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall combine temperature-tolerant components with a waterproof enclosure to ensure flawless operation in temperatures as low as –30° C (–22° F).

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL housing shall conform to the IP67 standards.

    - Imaging

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall use one (1) high performance 1/1.8-in. 4MP Progressive-scan CMOS sensor.

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall offer an effective number of pixels of 2688 × 1520 (OSD Black Strip Excluded).

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall offer a motorized vari-focal lens with a lens length of 10 to 50 mm (0.4 to 2.0 in.).

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall have a horizontal angle of 40.55° (W)–9.33° (T), a diagonal angle of 46.6° (W)–10.63° (T), and a vertical angle of 22.7° (W)–5.3° (T)

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall produce a color image with a minimum scene illumination of 0.002 Lux (Built-In Illuminator On).

    - Illumination

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall have six (6) IR illuminators with adjustable brightness.

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall offer an IR and illumination distance of up to 30.0 m (98.4 ft).

    - Video Characteristics

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall offer CBR/VBR bit rate control.

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall offer the following video compression protocols:

        - H.264/H.265: 4096 to 10240 kbps

        - MJPEG: 8192 to 40960 kbps

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall offer H.265, H.264M, H.264H, MJPEG (Sub Stream Only) video compression protocols.

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall offer Wide Dynamic Range (96 dB) for backlight compensation.

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall offer 3D NR, Video 3D NR, Video Spatial 3D NR, Video Temporal 3D NR.

    - Streaming Capability

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall generate 2688 x 1520/1600 x 1200/1920 x 1080/1280 x 720 at 30 fps resolution using H.265 compression.

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall offer the following resolutions:

        - Main Stream: 4MP (2688×1520), 2MP (1600×1200), 1080p (1920×1080), 720p (1280 × 720)

        - Sub Stream: 720p (1280 × 720), 960H (960× 480), D1 (704 × 480), CIF (352 × 240)

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall generate two (2) streams at the following maximum resolutions:

        - Main Stream: 2688 x 1520/1600 x 1200/1920 x 1080/1280 x 720 at 30 fps

        - Sub Stream: 1280 × 720/960 x 480/704 x 408/352 x 240 at 30 fps

    - IP Connectivity

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall allow full camera control and configuration capabilities via a TCP/IP network.

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall deliver 2688 x 1520/1600 x 1200/1920 x 1080/1280 x 720 video at rates up to 30 frames per second via TCP/IP over an RJ-45 (10/100 Base-T) connection, two (2) RS-485 Ports, or one (1) Wiegand Channel.

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall conform to the ONVIF S  and T profiles.

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall offer local and network storage options that include: a built-in 1 TF Card Port (Max. 128 GB) and recording to a local PC for instant recording.

    - Analytics

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL offers the following built-in analytics functions to provide advanced analytics for any scene:

        - Vehicle Detection Rate: ≥ 99%

        - Vehicle Recognition Rate: ≥ 95%

        - Vehicle Recognition Attributes: Vehicle Color, Front-Seat Passenger, Licensed/Unlicensed

        - LumiTrajectory: Displays Plate and Vehicle Path

    - Audio

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall have the following audio output channels:

        - Output: One (1) Channel (RCA port)

    - Alarm

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall have the following alarm input and output channels:

        - Input: 2-Channel Optocoupler (On/Off)

        - Output: 2-Channel Relay (Can Be Used to Connect Other Devices)

    - Installation Requirements

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall be capable of operating in an outdoor environment within a temperature range of -30 to 65 °C (-22 to 149 °F).

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall accept power, transmit video, and accept control via an Ethernet connection.

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall support the following dual, redundant power options:

        - 12 VDC

        - PoE+

        - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall default to use power from the PoE power supply, if connected.

        - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall reboot and switch to the 12 VDC power supply if power from the PoE power supply is lost.

    - Housing Options

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall be offered in a metal and plastic housing.

      - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL housing shall conform to the IP67 standard.

  - ACCESSORIES

    - The 4MP Network LPR Camera (Vari-Focal) - N9L-4RAL shall offer the optional accessories that can be found at https://luminyscorp.com/products/accessories.

- – EXECUTION

  - EXAMINATION

    - Examine areas to receive devices and notify adverse conditions affecting installation or subsequent operation.

    - Do not begin installation until unacceptable conditions are corrected.

  - PREPARATION

    - Protect devices from damage during construction.

  - INSTALLATION

    - Install devices in accordance with manufacturer’s instruction at locations indicated on the floor drawings plans.

    - Perform installation with qualified service personnel.

    - Install devices in accordance with the National Electrical Code or applicable local codes.

    - Ensure selected location is secure and offers protection from accidental damage.

    - Location must provide reasonable temperature and humidity conditions, free from sources of electrical and electromagnetic interference.

  - FIELD QUALITY CONTROL

    - Test snugness of mounting screws of all installed equipment.

    - Test proper operation of all video system devices.

    - Determine and report all problems to the manufacturer’s customer service department.

  - ADJUSTING

    - Make proper adjustment to video system devices for correct operation in accordance with manufacturer’s instructions.

    - Make any adjustment of camera settings to comply with specific customer’s need.

  - DEMOSTRATION

    - Demonstrate at final inspection that video management system and devices functions properly.

END OF SECTION