June 2025

Product Guide Specification

Specifier Notes:  This product guide specification is written according to the Construction Specifications Institute (CSI) 3-Part Format, based on MasterFormat 2016 and The Project Resource Manual—CSI Manual of Practice. The Manufacturer is responsible for technical accuracy.

The section must be carefully reviewed and edited by the Architect or Engineer to meet the requirements of the project and local building code.  Words and sentences within brackets [ ] are choices to include or exclude a particular item or statement.  Coordinate this section with other specification sections and the Drawings.  Delete all “Specifier Notes” after editing this section.

Section 28 21 00: Video Security

Section 28 21 13: IP Cameras

4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32

- – GENERAL

  - SUMMARY

    - Section Includes

      - Section 28 21 17: Video Security – Security Cameras – Camera Housings

      - Section 28 21 19: Video Security – Security Cameras – Camera Mounts

      - Section 28 27 00: Video Security – Video Security Sensors

    - Related Sections

      - [Section 28 33 15: Security Detection, Alarm and Monitoring – Security Monitoring and Control – Security Monitoring and Control Software].

**********Specifier’s note: Include those standards referenced elsewhere in this SECTION.

  - REFERENCES

    - Electromagnetic Compatibility

      - FCC Part 15 Subpart B

      - ANSI C63.4-2014

    - European Standards

      - EN 55032

      - EN 55024

      - EN 50130-4

    - UL

      - UL60950-1+CAN/CSA 22.2, No.60950-1

    - HD standards

      - Complies with the SMPTE 274M-2008 Standard in:

        - Resolution: 1920x1080

        - Scan: Progressive

        - Color representation: complies with ITU-R BT.709

        - Aspect ratio: 16:9

        - Frame rate: 25 and 30 frames/s

      - Complies with the 296M-2001 Standard in:

        - Resolution: 1280x720

        - Scan: Progressive

        - Color representation: complies with ITU-R BT.709

        - Aspect ratio: 16:9

        - Frame rate: 25, 30, 50 and 60 frames/s

        - Interference-Causing Equipment Standards

  - SYSTEM DESCRIPTION

    - Section Includes

      - Video Security – Security Cameras – IP Cameras

    - Performance Requirements

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall be a full-featured 4MP network camera designed for discrete video security applications in indoor and outdoor environments.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall simultaneously transmit and receive video, audio, and control signals over a TCP/IP connection.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall produce color images in light down to 0.005 lux at F1.6.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall offer advanced analytics that offer perimeter protection functions and distinguish between human and vehicular objects in a scene.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall incorporate a built-in heater to achieve an operational temperature down to –22 °F (–30 °C).

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall offer a 1/2.8 in.-CMOS sensor with an effective pixel density of 4MP at 30 fps.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall have a motorized lens with a focal length between 4.8 mm to 154.0 mm and an autofocus lens with 32x optical zoom.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall offer True Wide Dynamic Range (120 dB) for clear images in extreme high-contrast environments.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall accept two (2) alarm input channels and offer one (1) alarm output channel.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall offer LumiTracking and LumiAnalytics.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall support the following dual, redundant power options:

        - 24 VDC

        - PoE+ (802.3at)

        - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall default to use power from the PoE power supply, if connected.

        - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall reboot and switch to the 24 VDC power supply if power from the PoE power supply is lost.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 housing shall conform to the IK10 vandal resistance rating.

  - SUBMITTALS

    - Submit under provisions of Section [01 33 00.]

    - Product Data:

      - Manufacturer’s data, user and installation manuals for all equipment and software programs including computer equipment and other equipment required for complete video management system.

    - Dimensional Drawings; include

      - Overall device dimensions.

      - Dimensions specific for installation.

    - Closeout Submittals

      - User manual.

      - Parts list.

      - Maintenance requirements.

  - QUALITY ASSURANCE

    - Manufacturer:

      - Minimum of [10] years of experience in manufacture and design Video Security Devices.

    - Video Security System:

      - List certifying bodies (UL, CSA, etc.)

      - Provide evidence of compliance upon request.

    - Installer:

      - Minimum of [5] years of experience installing Video Security System.

  - DELIVERY, STORAGE AND HANDLING

    - Comply with requirements of Section 01 60 00.

    - Deliver materials in manufacture’s original, unopened, undamaged containers; and unharmed original identification labels.

    - Protect store materials from environmental and temperature conditions following manufacturer’s instructions.

    - Handle and operate products and systems according to manufacturer’s instructions.

  - WARRANTY

    - Provide manufacturer’s warranty covering [2] years for replacement and repair of defective equipment. Warranty varies country to country.

  - MAINTENANCE

    - Make ordering of new equipment for expansions, replacements, and spare parts available to dealers and end users.

    - Provide factory direct technical support via phone and e-mail.

- – PRODUCTS

  - MANUFACTURERS

    - [Acceptable Manufacturer:

Luminys Systems Corporation

15245 Alton Pkwy, #100, Irvine, CA, 92618

Tel: (949) 679-7777

Email: sales@luminyscorp.com]

    - Substitutions: [Not permitted.] [Under provisions of Division 1.]

      - [All proposed substitutions must be approved by the Architect or Engineer professional.]

      - [Proposed substitutions must provide a line-by-line compliance documentation.]

  - 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32

    - General Characteristics:

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall be a full-featured 4MP network camera designed for discrete video security applications in indoor and outdoor environments.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall simultaneously transmit and receive video, audio, and control signals over a TCP/IP connection.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall produce color images in light down to 0.005 lux at F1.6.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall offer advanced analytics that offer perimeter protection functions and distinguish between human and vehicular objects in a scene.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall incorporate a built-in heater to achieve an operational temperature down to –22 °F (–30 °C).

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall offer a 1/2.8 in.-CMOS sensor with an effective pixel density of 4MP at 30 fps.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall have a motorized lens with a focal length between 4.8 mm to 154.0 mm and an autofocus lens with 32x optical zoom.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall offer True Wide Dynamic Range (120 dB) for clear images in extreme high-contrast environments.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall accept two (2) alarm input channels and offer one (1) alarm output channel.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall offer LumiTracking and LumiAnalytics.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall support the following dual, redundant power options:

        - 24 VDC

        - PoE+ (802.3at)

        - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall default to use power from the PoE power supply, if connected.

        - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall reboot and switch to the 24 VDC power supply if power from the PoE power supply is lost.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 housing shall conform to the IK10 vandal resistance rating.

    - Imaging

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall offer a 1/2.8-inch type CMOS Sensor.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall offer an effective number of pixels of 2560 (H) x 1440 (V) effective picture elements.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall offer a 32x optical zoom lens (4.8 mm to 154.0 mm).

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall have a horizontal angle of view of between 55.8° to 2.3°.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall offer an aperture of F1.6 to F4.0.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall produce a color image with a minimum scene illumination of 0.005 lux at F1.6.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall offer a wide dynamic range of 120 dB.

    - PTZ Features

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall provide a pan range of 0.1° to 350°.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall provide a tilt angle of 0.1° to 250° relative to the horizon.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall provide an automatic flip feature to automatically rotate and flip the camera as it tilts through the vertical position to maintain the correct orientation of the image.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall provide the following modes for variable pan/tilt speeds:

        - Manual Control:

          - Pan: 0.1°/s to 350°/s

          - Tilt: 0.1°/s to 250°/s

        - Preset Mode:

          - Pan: 0.1°/s to 500°/s

          - Tilt: 0.1°/s to 500°/s

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall provide a feature that automatically rotates, or pivots, the camera to simplify tracking of a person walking directly under the camera.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall support 300 presets.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall support the following PTZ modes:

        - Eight (8) tour modes.

        - Five (5) pattern modes.

        - Five (5) scan modes.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall automatically activate a preset, pan, scan, tour, or pattern mode if the camera does not receive a command during a specified period.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall automatically restore the previous PTZ and lens status after the camera powers up after a power failure.

    - DORI Distance

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall to conform to EN 62676-4, the standard that defines the criteria for the Detect, Observe, Recognize and Identify classifications.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall offer the following detect, observe, recognize, and identify distances:

        - Detect: 10,105.0 ft (3,080.0 m)

        - Observe: 3,991.5 ft (1,216.6 m)

        - Recognize: 2,021.0 ft (616.0 m)

        - Identify: 1,010.5 ft (308.0 m)

    - Video Characteristics

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall offer CBR/VBR bit rate control.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall offer the following video compression protocols

        - H.265: 38 kbps to 8960 kbps

        - H.264: 96 kbps to 14848 kbps

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall offer BLC, HLC, and True WDR (120 dB) modes of backlight compensation.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall offer 2D and 3D noise reduction.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall support eight (8) regions of interest.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall support 24 privacy masking areas.

    - Streaming Capability

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall generate full 4MP (2560 x 1440 pixels) at 30 fps resolution using Smart Encoding H.265+ compression.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall offer the following resolutions: 4MP (2560 × 1440), 3MP (2304 × 1296), 3MP (2048 × 1536), 1080p (1920 × 1080), 960p (1280 × 960), 720p (1280 × 720), VGA (640 × 480), D1 (704 × 480), CIF (352 × 240).

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall generate three streams at the following maximum resolutions:

        - Main Stream: 4MP/3MP/1080p/1.3MP/720p at 30 fps

        - Sub Stream 1: D1/VGA/CIF at 30 fps

        - Sub Stream 2: 1080p/1.3MP/720p at 30 fps

    - IP Connectivity

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall allow full camera control and configuration capabilities via a TCP/IP network.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall deliver 4MP video at rates up to 30 frames per second via TCP/IP over an RJ-45 (10/100 Base-T) connection.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall conform to the ONVIF, SDK, P2P, and the CGI standard.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall offer Quality of Service (QoS) configuration options.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall support the IPv6 internet-layer protocol for packet switched internetworking across multiple IP networks.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall offer local and network storage options that include: MicroSD, SFTP/FTP, Network Attached Storage (NAS), and recording to a local PC for instant recording.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall support the following protocols: HTTP, HTTPS, TCP/IP, IPv4, RTSP, SMTP, NTP, DHCP, DNS, DDNS, IPv6, 802.1x, SSL, QoS, FTP, UPnP, SNMP, ARP, RTCP, RTP, PPPoE, RTMP, Bonjour, NFS.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall support the LumiViewer desktop client and LumiViewer mobile app.

    - Interfaces

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall support the following audio compression technologies: G.711a, G.711Mu, PCM, AAC.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall offer an audio interface with one (1) input channel and one (1) output channel.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall offer an alarm interface with two (2) input channels and one (1) output channel.

    - Analytics

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 offer the following built-in analytics functions to provide advanced analytics for any scene:

        - Video Content Analytics+: Line Crossing, Intrusion, Loitering Detection, Parking Detection, Crossing Virtual Fence, Abandoned/Missing Object, Aggregate Detection, Vehicle/Human Alarm Classification, Linkage Tracking

        - Intelligent Motion Detection: Supported with Alarms for Vehicles and Humans

        - Face Detection: Capture Snapshots and Facial Attributes

        - People Counting: Enter/Exit and In-Area People Counting, Queue Management With Report

        - LumiSearch+: Supported When Used With LumiSearch+-Enabled NVRs

        - LumiAnalytics: Face Detection, People Counting, Heat Map, Queue Management, Smart Object Detection

        - LumiTracking: Automatically Tracks a Target in Motion for an Allotted Amount of Time or Until the Object Exits the Scene

    - Installation Requirements

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall be capable of operating in an outdoor environment within a temperature range of 
–22 °F to +140 °F ( -30 °C to +60 °C).

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall support the following dual, redundant power options:

        - 24 VDC

        - PoE+ (802.3at)

        - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall default to use power from the PoE power supply, if connected.

        - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall reboot and switch to the 24 VDC power supply if power from the PoE power supply is lost.

    - Housing Options

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall be offered in a metal housing.

      - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 housing shall conform to the IK10 vandal resistance standard.

2.3	ACCESSORIES

    - The 4MP Network 32x LumiSearch+ PTZ Camera - P5C-4SA32 shall offer the optional accessories that can be found at https://luminyscorp.com/products/accessories.

- – EXECUTION

  - EXAMINATION

    - Examine areas to receive devices and notify adverse conditions affecting installation or subsequent operation.

    - Do not begin installation until unacceptable conditions are corrected.

  - PREPARATION

    - Protect devices from damage during construction.

  - INSTALLATION

    - Install devices in accordance with manufacturer’s instruction at locations indicated on the floor drawings plans.

    - Perform installation with qualified service personnel.

    - Install devices in accordance with the National Electrical Code or applicable local codes.

    - Ensure selected location is secure and offers protection from accidental damage.

    - Location must provide reasonable temperature and humidity conditions, free from sources of electrical and electromagnetic interference.

  - FIELD QUALITY CONTROL

    - Test snugness of mounting screws of all installed equipment.

    - Test proper operation of all video system devices.

    - Determine and report all problems to the manufacturer’s customer service department.

  - ADJUSTING

    - Make proper adjustment to video system devices for correct operation in accordance with manufacturer’s instructions.

    - Make any adjustment of camera settings to comply with specific customer’s need.

  - DEMOSTRATION

    - Demonstrate at final inspection that video management system and devices functions properly.

END OF SECTION