GUIDE SPECIFICATION

Section 28 21 13

[image: image1.png]



Digital Watchdog® is a leading manufacturer of security and surveillance solutions, offering stunning image quality, advanced hardware capabilities, reliable customer support and lowest total cost of deployment to the analog & IP megapixel surveillance markets. Located in Cerritos, CA with manufacturing facilities in Seoul, Korea, Digital Watchdog® is committed to delivering powerful security solutions to its customers worldwide.
For additional information, contact: 

Digital Watchdog®

16220 Bloomfield Avenue, 

Cerritos, California 90703 USA


Phone: +1 888 446-3593


Web: www.digital-watchdog.com


E-mail: dw-tech@dwcc.tv
MEGApix® 2.1MP/1080P VANDAL BALL IP CAMERA
DIVISION 28 – ELECTRONIC SAFETY AND SECURITY
28 20 00 
Video Surveillance
28 21 00 
Surveillance Cameras

28 21 13
IP Cameras

Notes to Specifier:

1.  Where several alternative parameters or specifications exist, or where, the specifier has the option of inserting text, such choices are presented in <bold text>.
2.  Explanatory notes and comments are presented in colored text.
3. CSI MasterFormat 2016 incorporates numerous significant changes affecting electronic safety and security. This document is written to provide flexibility in using either format, although the adoption of MasterFormat 2016 is encouraged. The following is a guide to the MasterFormat numbers relevant to the product referenced in this specification.
4. MasterFormat 2014 Specification Category: 

28 23 29 - Video Surveillance Remote Devices and Sensors
MEGApix® 2.1MP/1080P VANDAL BALL IP CAMERA
PART 1   GENERAL

1.01 SUMMARY
A. The section includes a 2.1MP/1080p high definition indoor/outdoor IP video camera with vandal-resistant IP-67 rated, IK10 impact-resistant ball housing.
B. Product - A high definition IP outdoor vandal ball camera, based on H.265, H.264 and MJPEG compression, capable of dual streaming 30fps at resolutions up to 1945 X 1109, with color in near-total darkness technology and a 2.8mm fixed lens and built-in IR illuminator in an indoor/outdoor ball housing.
C. Related Requirements

1. 27 15 01.13 – Video Surveillance Communications Conductors and Cables

2. 28 05 03 – Safety and Security Network Communications Equipment 

3. 28 05 19 – Storage Appliances for Electronic Safety and Security

4. 28 06 20 – Schedules for Video Surveillance

5. 28 23 00 – Video Management System 
1.02 REFERENCES
A. Abbreviations
1. AGC - Automatic Gain Control
2. ARP – Address Resolution Protocol
3. AWB  - Automatic White Balance
4. BLC – Backlight compression

5. DHCP - Dynamic Host Configuration Protocol
6. DNR – Digital Noise Reduction
7. DNS - Domain Name Server
8. DDNS – Dynamic Domain Name Server
9. fps - Frames Per Second
10. FTP - File Transfer Protocol
11. GUI – Graphical User Interface
12. HLC – Highlight Compensation
13. HTTP - Hypertext Transfer Protocol
14. ICMP – Internet Control Message Protocol
15. IGMP - Internet Group Management Protocol
16. IP - Internet Protocol
17. JPEG - Joint Photographic Experts Group
18. MJPEG - Motion JPEG
19. NTP - Network Time Protocol
20. PoE - Power over Ethernet
21. QoS – Quality of Service
22. RARP – Reverse Address Resolution Protocol
23. RTP - Real-Time Transport Protocol
24. RTSP - Real-Time Streaming Protocol
25. SMTP - Simple Mail Transfer Protocol
26. TCP - Transmission Control Protocol
27. UDP - User Datagram Protocol
28. VMS - Video Management System
29. WDR – Wide Dynamic Range
B. Reference Standards
1. Network

a. IEEE - 802.3 Ethernet Standards

2. Video

a. ISO / IEC 14496 – MPEG-4

1.) ISO / IEC 14496–10, MPEG-4 Part 10 (ITU H.264)

b. ISO / IEC 10918 – JPEG 
c. ONVIF – Profile S
3. Emissions
a. FCC-47 CFR Part 15 Class B
4. Environmental

a. ANSI / IEC60529 – Degrees of Protection Provided by Enclosures

b. International Electrotechnical Commission (IEC) – Ingress Protection Rating IP66
c. European standard EN 62262 — equivalent to International Electrotechnical Commission (IEC) – Impact Protection Rating IK10

1.03 SUBMITTALS
A. Product Data
1. Manufacturer’s printed or electronic datasheets.
2. Manufacturer’s installation and operation manuals.
3. Warranty documentation.
1.04 QUALIFICATIONS
A. The manufacturer shall have a minimum of five years experience in producing IP video equipment.
B. Installers shall be trained and authorized by the Manufacturer to install, integrate, test, and commission the system.
1.05 DELIVERY, STORAGE, AND HANDLING

A. Deliver the camera in the manufacturer’s original, unopened and undamaged container with identification labels intact.

B. Store the camera in a temperature environment of -4° F to 122° F (-20° F to 50° F), protected from mechanical and environmental conditions as designated by the manufacturer.

1.06 WARRANTY AND SUPPORT
A. The manufacturer shall provide a 5-year warranty for the product to be free of defects in material and workmanship.
END OF SECTION

PART  2    PRODUCTS

2.01 EQUIPMENT
A. Manufacturer: 
Digital Watchdog, Inc.




16220 Bloomfield Avenue. Cerritos,

California USA 90703 USA




Phone: (866) 446-3595




Web: www.digital-watchdog.com




E-mail:  dw-tech@dwcc.tv
B. Models DWC-MVA2Wi28T 
C. Alternates: None

2.02 GENERAL DESCRIPTION

A. The high definition outdoor ball IP camera (“IP camera”) shall provide video performance capable of providing selectable resolutions up to 1945 x 1109 pixels at 30 frames per second (FPS) with color in near-total darkness technology, contained within an IP-67 rated, IK10 impact-resistant ball housing.
B. The IP camera shall possess the following characteristics:
1. H.265, H.264 and MJPEG compression

2. 2.1MP/1080p resolution
3. Star-Light Plus™ color in near-total darkness technology (0.05 lux)
4. Two independent IP video streams (dual streaming)

5. Day/night operation with IR cut filter
6. Option for Integral IR LED illuminator providing 100-foot distance
7. Integral motion detection

8. True Wide Dynamic Range 
9. 3D digital noise reduction
10. PoE capable
11. Multicast or unicast capable

12. Built-in web-server

13. Dynamic DNS (DDNS) support

14. IP-67 rated 

15. IK-10 impact resistant

2.03 VIDEO
A. Imager
1. Sensor:
 
2.1MP/1080p 1/2.8“ CMOS 
2. Minimum illumination 

a. Color mode: 

0.05 lux 
b. Black & white mode: 
0.0 lux
3. Scanning - Progressive
4. Image Control Settings shall be available for:

1.) In manual exposure mode, configurable settings for:

a.) Brightness

b.) Shutter mode: 
automatic or manual - 1/15 to 1/32000 

c.) Digital slow shutter to decrease the shutter speed in low light

d.) Anti-flicker shutter setting to address video flickering issues

e.) Automatic Gain Control (AGC)

f.) Backlight Compensation (BLC)

g.) Wide Dynamic Range (WDR) level

b. Day and night settings, to allow configuration for Day (color), Night (Black and White), or Automatic.

c. Frequency

d. Image sharpness

e. IR LED control

f. Image mirror or flip

g. Digital noise reduction

5. Lens
a. Lens type: 2.8mm F2.0 Fixed Lens
b. Field of view (FOV): 110o  
c. IR Distance: 100ft range

d. Double shutter Wide Dynamic Range, 120dB
e. Shutter speed:  1/15 sec to 1/32000
B. Video Streams 
1. The IP bullet camera shall support two configurable video streams, selectable from H.265, H.264 and MJPEG.
2. The IP camera shall support two configurable video streams, each of which may have the following properties:
a. Compression Type and Resolution: 

1.) H.265: 2.1MP/1080p, 720p, VGA, D1, CIF 
2.) H.264: 2.1MP/1080p, 720p, VGA, D1, CIF 
3.) MJPEG: 1280x720, 800x600, VGA, 768x432, D1, CIF
b. Frame rate: 0 – 30fps
C. IR Distance: 
100 feet
D. Motion Detection – The IP camera shall have the ability to detect motion within user-defined areas of the video image.
1. Configuration settings shall be available for sensitivity and dwell time.

E. ONVIF – Video streams shall be capable of supporting ONVIF protocol, profile S.
F. Other
1. Single Images - The IP camera shall support jpg file image screenshot and export.
2. Discovery - Manufacturer shall offer a discovery program to identify all devices of his manufacture on the network.
3. Emergency alarm – The IP camera shall allow the sending of a video clip of configurable duration to up to five server locations.
4. Access - The IP camera shall permit up to five users to simultaneously access the camera.
2.04 NETWORK
A. Connectivity: 10/100 BASE-TX Ethernet with RJ-45 connector
B. Protocols supported

1. Transmission Control Protocol (TCP), Internet Protocol (IP) v4, User Datagram Protocol (UDP)
2. Configuration: Dynamic Host Configuration Protocol (DHCP)

3. Web services: Hypertext Transfer Protocol (HTTP)
4. Network services: Domain Name System (DNS), Network Time Protocol (NTP), Internet Control Message Protocol (ICMP), Simple Network Management Protocol (SNMP)
5. Media: Real-Time Transport Protocol (RTP), Real-Time Streaming Protocol (RTSP)
C. DDNS – The IP camera shall support DDNS services offered by the Manufacturer and other publicly available service offerings.
D. Security

1. The IP ball camera shall support IP address filtering whereby users can enter a list of allowed or blocked IP addresses for viewing video and configuring camera settings

2. The IP ball camera shall provide digest authentication, ID and password protection.

3. The IP ball camera shall provide three levels of user access with password protection.
2.05 ADDITIONAL FEATURES

A. System Information
1. The system settings of the IP camera shall be exportable as a separate file.
2. The IP camera shall maintain an access log of the system and motion-triggered events.

a. The log shall be exportable to an Excel spreadsheet file.

2.06 CAMERA SOFTWARE
A. The IP camera shall have a built-in web server that supports browser-based configuration using Internet Explorer, Google Chrome, Mozilla Firefox, Apple Safari.
B. The software GUI shall allow access to camera information and all primary software functions, including:

1. Camera network address

2. Configuration

3. Stream control

4. Screen snapshot, print and export

5. Start and stop recording
C. The Manufacturer shall offer a video viewer and configuration to implement the following actions:
1. Camera discovery
2. Configuration 
a. video parameters
b. events and notifications

1.) motion-related

2.) emergency

c. camera network parameters

d. SD card storage recording management 

e. image capture, export, and print
3. Viewer - view video streams through the web browser
4. Image print and export
5. Instant record and playback
6. Alerts
a. e-mail setup
b. define web addresses for notifications
7. System
a. firmware upgrade
b. reset to factory default
c. set date, time, and NTP server synchronization
d. user access control
e. view and export camera settings
f. view system logs
2.07 ELECTRICAL

A. Power

1. Sources

a. 12 VDC

b. PoE (IEEE 802.3af. 802.3af Class 3)
2. Power Consumption

a. DC12V:
 Max 5.7W
b. PoE: 
Max 7.2W 
B. Connectors

1. Ethernet: 


RJ-45 connector
2. External power (12 VDC): 
2-conductor power-to-terminal block
2.08 MECHANICAL AND ENVIRONMENTAL

A. Housing Material: 

Die-cast Aluminum, polycarbonate window
B. Configuration: 

Outdoor vandal ball
C. Environmental Rating: 
IP-67
D. IK Rating: 


IK10
E. Dimensions (D x H):  
4.92 in. x 4.8 in. (125 mm x 122 mm)
F. Weight: 


1.76 lbs (0.8 kg)

G. Temperature:

1. Operating: 

-4° F to 122° F (-20° C to 50° C)  


H. Humidity:


10 - 90%, non-condensing


END OF SECTION
PART  3    EXECUTION

3.02 INSTALLERS
A. Contractor personnel shall comply with all applicable state and local licensing requirements.
3.03 PREPARATION

A. The network design and configuration shall be verified for compatibility and performance with the camera(s). 
B. Network configuration shall be tested and qualified by the Contractor prior to camera installation.
3.04 INSTALLATION
A. The contractor shall follow all Manufacturer published installation procedures and guidelines.
B. Before permanent installation of the system, the system shall be factory tested in conditions simulating the final installed environment

1. A report indicating successful test results shall be produced.
3.05 STORAGE

A. The IP camera hardware shall be stored in an environment where temperature and humidity are in the range specified by the Manufacturer.
END OF SECTION

DWC-MVA2Wi28T

MEGApix® 2.1MP/1080P VANDAL BALL IP CAMERA
December 2019

28 21 13 - 8

